## wind0.dat
Radius= | 5.1 | m
Max RPM= | 69 | RPM
Pitch= | 0 | degrees
# | vhub | omega | pitch | Xhub | Pmek | Pgen | CP | CT | eff | Mflap | Medge | Mpitch | Fflap | Fedge | Frotor | Mtb | Torque [kNm]
| 3 | 33.738 | 0 | 6.0061 | 0.58394 | 0.58394 | 0.43212 | 0.83036 | 0.43212 | 0.42176 | 0.055094 | -0.0027471 | 0.12468 | 0.017762 | 0.37403 | 7.4806 | 0.16528
| 4 | 45.007 | 0 | 6.0092 | 1.3841 | 1.3841 | 0.43212 | 0.83067 | 0.43212 | 0.75011 | 0.097894 | -0.0048888 | 0.22173 | 0.031561 | 0.66519 | 13.304 | 0.29367
| 5 | 56.2 | 0 | 6.003 | 2.7034 | 2.7034 | 0.43212 | 0.83006 | 0.43212 | 1.1711 | 0.15312 | -0.007623 | 0.3462 | 0.049363 | 1.0386 | 20.772 | 0.45935
| 6 | 67.473 | 0 | 6.0059 | 4.6715 | 4.6715 | 0.43212 | 0.83035 | 0.43212 | 1.687 | 0.22038 | -0.010988 | 0.4987 | 0.071049 | 1.4961 | 29.922 | 0.66115
| 7 | 69 | 0 | 5.2644 | 7.0771 | 7.0771 | 0.41225 | 0.73917 | 0.41225 | 2.0221 | 0.32648 | -0.010773 | 0.60425 | 0.10423 | 1.8127 | 36.255 | 0.97944
| 8 | 69 | 0 | 4.6064 | 8.724 | 8.724 | 0.34045 | 0.63242 | 0.34045 | 2.2256 | 0.40246 | -0.010049 | 0.67524 | 0.1282 | 2.0257 | 40.515 | 1.2074
| 9 | 69 | 0 | 4.0945 | 9.7499 | 9.7499 | 0.26722 | 0.55211 | 0.26722 | 2.4192 | 0.44978 | -0.010621 | 0.74608 | 0.14335 | 2.2382 | 44.765 | 1.3493
| 10 | 69 | 0 | 3.6851 | 10.403 | 10.403 | 0.20786 | 0.48856 | 0.20786 | 2.6075 | 0.47993 | -0.012659 | 0.81507 | 0.15367 | 2.4452 | 48.904 | 1.4397
| 11 | 69 | 0 | 3.3501 | 10.839 | 10.839 | 0.16271 | 0.4354 | 0.16271 | 2.7796 | 0.50004 | -0.016508 | 0.87891 | 0.16104 | 2.6367 | 52.735 | 1.5001
| 12 | 69 | 0 | 3.0709 | 11.12 | 11.12 | 0.12858 | 0.38848 | 0.12858 | 2.9219 | 0.51299 | -0.022555 | 0.93327 | 0.16633 | 2.7998 | 55.996 | 1.539
| 13 | 69 | 0 | 2.8347 | 11.258 | 11.258 | 0.10239 | 0.34729 | 0.10239 | 3.0341 | 0.51937 | -0.030492 | 0.97916 | 0.16965 | 2.9375 | 58.75 | 1.5581
| 14 | 69 | 0 | 2.6322 | 11.326 | 11.326 | 0.082469 | 0.31304 | 0.082469 | 3.1356 | 0.52248 | -0.038445 | 1.0236 | 0.17238 | 3.0708 | 61.416 | 1.5675
| 15 | 69 | 0 | 2.4567 | 11.347 | 11.347 | 0.067178 | 0.28524 | 0.067178 | 3.2399 | 0.52348 | -0.045327 | 1.0707 | 0.1748 | 3.2121 | 64.241 | 1.5704
| 16 | 69 | 0 | 2.3032 | 11.348 | 11.348 | 0.055358 | 0.26237 | 0.055358 | 3.3502 | 0.52353 | -0.051982 | 1.1205 | 0.17744 | 3.3616 | 67.232 | 1.5705
| 17 | 69 | 0 | 2.1677 | 11.312 | 11.312 | 0.046003 | 0.24371 | 0.046003 | 3.474 | 0.52183 | -0.058313 | 1.175 | 0.17989 | 3.5251 | 70.502 | 1.5655
| 18 | 69 | 0 | 2.0473 | 11.275 | 11.275 | 0.038626 | 0.22839 | 0.038626 | 3.6144 | 0.52012 | -0.064438 | 1.2345 | 0.18271 | 3.7035 | 74.07 | 1.5604
| 19 | 69 | 0 | 1.9395 | 11.261 | 11.261 | 0.032803 | 0.21563 | 0.032803 | 3.7723 | 0.51948 | -0.07026 | 1.2986 | 0.18655 | 3.8959 | 77.918 | 1.5585
| 20 | 69 | 0 | 1.8425 | 11.276 | 11.276 | 0.028162 | 0.20494 | 0.028162 | 3.946 | 0.52019 | -0.076041 | 1.3676 | 0.19115 | 4.1028 | 82.056 | 1.5605
| 21 | 69 | 0 | 1.7548 | 11.335 | 11.335 | 0.024454 | 0.19578 | 0.024454 | 4.1308 | 0.52289 | -0.081964 | 1.4404 | 0.19672 | 4.3212 | 86.424 | 1.5687
| 22 | 69 | 0 | 1.675 | 11.468 | 11.468 | 0.021519 | 0.18774 | 0.021519 | 4.3237 | 0.52905 | -0.088007 | 1.5159 | 0.2039 | 4.5478 | 90.955 | 1.5871
| 23 | 69 | 0 | 1.6022 | 11.686 | 11.686 | 0.019191 | 0.18058 | 0.019191 | 4.5236 | 0.53912 | -0.09419 | 1.5936 | 0.2129 | 4.7809 | 95.618 | 1.6173
| 24 | 69 | 0 | 1.5355 | 11.985 | 11.985 | 0.017323 | 0.17426 | 0.017323 | 4.7318 | 0.55291 | -0.10061 | 1.6745 | 0.22327 | 5.0236 | 100.47 | 1.6587
| 25 | 69 | 0 | 1.474 | 12.44 | 12.44 | 0.015907 | 0.16847 | 0.015907 | 4.9437 | 0.57387 | -0.1072 | 1.7566 | 0.23629 | 5.2699 | 105.4 | 1.7216
What is in the sheets are:
| pitch | [degrees] The pitch is measured positive with the blade nose towards the wind direction
| omega | [RPM] Rotational speed of rotor
| Xhub | [-] Tip speed ratio=Tip speed divided by wind speed
| Pmek | [kW] Mechanical power, i.e. no losses from gears and generators included
| Pgen | Neglect this because the electrical losses are incorrect!
| CP | [-] Power coefficient
| CT | [-] Thrust coefficient
| eff | Neglect this because the electrical losses are incorrect!
| Mflap | [kNm] Aerodynamic root flap moment, i.e. it does not hold centrifugal stiffening nor turbulence
| Medge | [kNm] Aerodynamic root edge moment, i.e. it does not hold centrifugal stiffening nor turbulence
| Mpitch | [kNm] Aerodynamic root pitch moment, i.e. it does not hold centrifugal stiffening nor turbulence
| Fflap | [kN] Blade flapwise force
| Fedge | [kN] Blade edgewise force
| Frotor | [kN] Rotor thrust force
| Mtb | [kNm] Tower base over-turning moment